AIDCF

AI Data Centre Facilities Assurance Framework

AI DATA CENTRE ASSURANCE
REFERENCE ARCHITECTURE

Version 1.0

A capability-centred, system-of-systems architecture connecting AI service outcomes to facilities, engineered infrastructure, compute platforms, operations, evidence, failure paths, critical gates and accountable decisions

Artifact ID: AIDCF-ARA-001
Status: Draft for controlled review
Author: Siva Sethumadhavan
Depends on: AIDCF-003 through AIDCF-012

Model the capability. Expose the dependency. Trace the failure. Verify the safeguard. Preserve uncertainty. Bound the decision.

# Document control

AIDCF-013 bridges the AIDCF standards stack and deployable assurance implementations.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Define layers, viewpoints, entities, systems, interfaces, patterns, evidence points, failure paths and graph mappings. |
| Primary subject | Defined AI Capability Instance and required Service Outcomes. |
| Scope | Site, physical, power, thermal, environment, compute, storage, network, operations, resilience, supply chain, security, evidence and governance. |
| Uses | Assessment scoping, AITG graphs, digital twins, schemas, controls, evidence, dashboards and profiles. |
| Boundary | Not a vendor design, engineering code, operating procedure, certification or testing authority. |
| Safety | No switching, intrusion or disruption is authorised. |

# Executive thesis

An AI data centre is represented as a capability-supporting system of systems. A conformant architecture traces Service Outcomes through functions, systems, assets, interfaces, resources, dependencies, states, failure paths and safeguards to evidence, controls, critical gates and bounded decisions.

## Canonical chain

Capability -> Outcome -> Function -> Service Chain -> System -> Asset/Interface/Resource -> Dependency/Fault Domain -> State -> Failure -> Safeguard -> Evidence -> Control -> Finding/UNKNOWN -> Gate -> Score -> Decision -> Report/Reassessment

# Part I - Authority and scope

AIDCF-013 organises existing AIDCF objects into deployable views and patterns.

| Element | Architecture requirement |
| --- | --- |
| Semantic authority | AIDCF-003 owns canonical entities and relationships. |
| Failure authority | AIDCF-004 owns threat, hazard and propagation semantics. |
| Integration authority | AIDCF-005 governs AIDCF-AITG handoffs. |
| Assurance authority | AIDCF-007 through AIDCF-012 govern controls, evidence, assessment, decisions, programs and reporting. |
| Vendor neutrality | Functions and requirements precede products. |
| No universal blueprint | Tailor by capability, site, technology, state, consequence and decision. |
| Change control | Extensions cannot silently weaken the baseline. |

# Part II - Architecture principles

Principles constrain all implementations.

| Element | Architecture requirement |
| --- | --- |
| Capability first | Start from service outcomes, not inventory. |
| Function before product | Keep requirements vendor-neutral. |
| System of systems | Connect facility, digital, operational and external services. |
| Dependency explicitness | Record direct, indirect, shared, external and recovery reliance. |
| State awareness | Model normal, maintenance, degraded, emergency, recovery and transition. |
| Failure informed | Represent credible paths and propagation. |
| Fault-domain clarity | Substantiate independence and common modes. |
| Evidence attachment | Attach evidence or UNKNOWN to material assertions. |
| Gate readiness | Design evidence paths for applicable gates. |
| Human approval | Automation may propose; accountable review approves. |

# Part III - Conformance levels

Progressive conformance retains common semantics.

| Element | Architecture requirement |
| --- | --- |
| AR0 | Vocabulary aligned. |
| AR1 | Capability and outcomes mapped. |
| AR2 | Infrastructure mapped. |
| AR3 | Dependency and fault domains complete. |
| AR4 | Controls, evidence, scenarios and gates attached. |
| AR5 | Graph conformant and versioned. |
| AR6 | Continuing-assurance sources and triggers defined. |

# Part IV - Architecture layers

Ten connected layers form the model.

| Element | Architecture requirement |
| --- | --- |
| L0 | Decision and governance. |
| L1 | Capability and outcomes. |
| L2 | Functional service chain. |
| L3 | Logical platform. |
| L4 | Physical IT. |
| L5 | Facility engineering. |
| L6 | External ecosystem. |
| L7 | Operations and resilience. |
| L8 | Assurance objects. |
| L9 | Decision, reporting and reassessment. |

# Part V - Required viewpoints

Each view is a projection of one controlled model.

| Element | Architecture requirement |
| --- | --- |
| Capability | Required when material; omission requires rationale. |
| Functional | Required when material; omission requires rationale. |
| System | Required when material; omission requires rationale. |
| Physical | Required when material; omission requires rationale. |
| Dependency | Required when material; omission requires rationale. |
| Fault-domain | Required when material; omission requires rationale. |
| State | Required when material; omission requires rationale. |
| Capacity | Required when material; omission requires rationale. |
| Failure | Required when material; omission requires rationale. |
| Safeguard | Required when material; omission requires rationale. |
| Control/evidence | Required when material; omission requires rationale. |
| Decision | Required when material; omission requires rationale. |
| Graph | Required when material; omission requires rationale. |
| Reporting | Required when material; omission requires rationale. |

# Part VI - Capability architecture

The model is anchored to a precise capability record.

| Element | Architecture requirement |
| --- | --- |
| stable identity/owner/lifecycle/version | Required |
| mission and users | Required |
| workload model | Required |
| demand model | Required |
| Service Outcomes | Required |
| tolerances | Required |
| criticality | Required |
| architecture baseline | Required |
| scope/boundary | Required |
| reassessment triggers | Required |

# Service Outcome specification

Every outcome is an assessable object.

| Element | Architecture requirement |
| --- | --- |
| outcomeId | Required |
| measurable statement | Required |
| conditions/state | Required |
| tolerance/duration | Required |
| critical functions | Required |
| dependencies | Required |
| safeguards | Required |
| evidence floor | Required |
| critical gates | Required |
| owner | Required |
| reassessment triggers | Required |

# Reference Service Chain - Training

ingest -> storage -> fabric -> accelerators -> checkpoint -> output

| Element | Architecture requirement |
| --- | --- |
| Flow | ingest -> storage -> fabric -> accelerators -> checkpoint -> output |
| Objects | Functions, systems, interfaces, resources, states, owners and providers. |
| Dependencies | Internal, shared, external and recovery. |
| Failure analysis | Modes, paths, safeguards, residual state and recovery. |
| Assurance | Controls, evidence, findings, UNKNOWN, gates and decisions. |
| Boundary | Excluded services remain explicit. |
| Validation | Reconcile logical, physical and observed states. |

# Reference Service Chain - Inference

ingress -> route -> preprocess -> model service -> compute -> response

| Element | Architecture requirement |
| --- | --- |
| Flow | ingress -> route -> preprocess -> model service -> compute -> response |
| Objects | Functions, systems, interfaces, resources, states, owners and providers. |
| Dependencies | Internal, shared, external and recovery. |
| Failure analysis | Modes, paths, safeguards, residual state and recovery. |
| Assurance | Controls, evidence, findings, UNKNOWN, gates and decisions. |
| Boundary | Excluded services remain explicit. |
| Validation | Reconcile logical, physical and observed states. |

# Reference Service Chain - Fine-tuning

dataset -> transfer -> training -> checkpoint -> evaluation -> registry

| Element | Architecture requirement |
| --- | --- |
| Flow | dataset -> transfer -> training -> checkpoint -> evaluation -> registry |
| Objects | Functions, systems, interfaces, resources, states, owners and providers. |
| Dependencies | Internal, shared, external and recovery. |
| Failure analysis | Modes, paths, safeguards, residual state and recovery. |
| Assurance | Controls, evidence, findings, UNKNOWN, gates and decisions. |
| Boundary | Excluded services remain explicit. |
| Validation | Reconcile logical, physical and observed states. |

# Reference Service Chain - Sovereign

authorised ingress -> controlled processing -> protected storage -> approved egress

| Element | Architecture requirement |
| --- | --- |
| Flow | authorised ingress -> controlled processing -> protected storage -> approved egress |
| Objects | Functions, systems, interfaces, resources, states, owners and providers. |
| Dependencies | Internal, shared, external and recovery. |
| Failure analysis | Modes, paths, safeguards, residual state and recovery. |
| Assurance | Controls, evidence, findings, UNKNOWN, gates and decisions. |
| Boundary | Excluded services remain explicit. |
| Validation | Reconcile logical, physical and observed states. |

# Reference Service Chain - Shared platform

tenant intake -> scheduling -> shared infrastructure -> monitoring

| Element | Architecture requirement |
| --- | --- |
| Flow | tenant intake -> scheduling -> shared infrastructure -> monitoring |
| Objects | Functions, systems, interfaces, resources, states, owners and providers. |
| Dependencies | Internal, shared, external and recovery. |
| Failure analysis | Modes, paths, safeguards, residual state and recovery. |
| Assurance | Controls, evidence, findings, UNKNOWN, gates and decisions. |
| Boundary | Excluded services remain explicit. |
| Validation | Reconcile logical, physical and observed states. |

# Reference Service Chain - Recovery

detection -> decision -> containment -> alternate capacity -> restore -> validate

| Element | Architecture requirement |
| --- | --- |
| Flow | detection -> decision -> containment -> alternate capacity -> restore -> validate |
| Objects | Functions, systems, interfaces, resources, states, owners and providers. |
| Dependencies | Internal, shared, external and recovery. |
| Failure analysis | Modes, paths, safeguards, residual state and recovery. |
| Assurance | Controls, evidence, findings, UNKNOWN, gates and decisions. |
| Boundary | Excluded services remain explicit. |
| Validation | Reconcile logical, physical and observed states. |

# GOV Domain Reference Architecture - Governance

Canonical profile for governance.

| Element | Architecture requirement |
| --- | --- |
| Objects | authority; ownership; policy; review |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | charters; decisions |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-13; CG-14 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# CAP Domain Reference Architecture - Capability

Canonical profile for capability.

| Element | Architecture requirement |
| --- | --- |
| Objects | capability; workload; outcome; demand; envelope |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | register; SLO; plan |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-01; CG-02 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# DEP Domain Reference Architecture - Dependencies

Canonical profile for dependencies.

| Element | Architecture requirement |
| --- | --- |
| Objects | dependency; provider; shared service; concentration |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | graph; contract; route |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-03; CG-12 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# PHY Domain Reference Architecture - Physical

Canonical profile for physical.

| Element | Architecture requirement |
| --- | --- |
| Objects | site; building; room; zone; rack; barrier |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | drawing; inspection; access |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-02; CG-04 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# POW Domain Reference Architecture - Power

Canonical profile for power.

| Element | Architecture requirement |
| --- | --- |
| Objects | utility; transformer; UPS; generator; distribution |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | SLD; telemetry; tests |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-05 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# THM Domain Reference Architecture - Thermal

Canonical profile for thermal.

| Element | Architecture requirement |
| --- | --- |
| Objects | chiller; pump; CRAH; CDU; loop; leak detection |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | P&ID; telemetry; tests |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-06 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# ENV Domain Reference Architecture - Environment

Canonical profile for environment.

| Element | Architecture requirement |
| --- | --- |
| Objects | sensor; meter; water; waste; hazard zone |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | telemetry; permits |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-02; CG-04 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# CMP Domain Reference Architecture - Compute

Canonical profile for compute.

| Element | Architecture requirement |
| --- | --- |
| Objects | accelerator; host; rack; cluster; scheduler; firmware |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | topology; health; tests |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-08 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# STO Domain Reference Architecture - Storage

Canonical profile for storage.

| Element | Architecture requirement |
| --- | --- |
| Objects | tier; controller; metadata; replication; checkpoint |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | integrity; restore |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-08; CG-10 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# NET Domain Reference Architecture - Network

Canonical profile for network.

| Element | Architecture requirement |
| --- | --- |
| Objects | fabric; switch; optic; cable; OOB; time |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | topology; telemetry |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-08 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# OPS Domain Reference Architecture - Operations

Canonical profile for operations.

| Element | Architecture requirement |
| --- | --- |
| Objects | operator; procedure; alarm; incident; change |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | work orders; tickets |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-07; CG-13; CG-14 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# RES Domain Reference Architecture - Resilience

Canonical profile for resilience.

| Element | Architecture requirement |
| --- | --- |
| Objects | fault domain; plan; exercise; crisis team |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | scenario; exercise |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-09; CG-10 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# SUP Domain Reference Architecture - Supply Chain

Canonical profile for supply chain.

| Element | Architecture requirement |
| --- | --- |
| Objects | supplier; OEM; spare; support; update source |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | contract; provenance |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-03; CG-13 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# SEC Domain Reference Architecture - Security

Canonical profile for security.

| Element | Architecture requirement |
| --- | --- |
| Objects | identity; privilege; zone; gateway; control plane |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | config; logs; tests |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-07; CG-15 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# EVA Domain Reference Architecture - Evidence/Assurance

Canonical profile for evidence/assurance.

| Element | Architecture requirement |
| --- | --- |
| Objects | evidence; assertion; result; finding; gate; decision |
| Relationships | IMPLEMENTS; CONNECTS_TO; DEPENDS_ON; LOCATED_IN; CONTROLLED_BY; MONITORED_BY; PROTECTED_BY. |
| Boundary | Owned, operated, third-party, shared and excluded. |
| States | Normal, maintenance, degraded, emergency, recovery and transition. |
| Capacity | Rated, available, reserved, consumed, headroom and constraint. |
| Fault domains | Redundancy, common modes and containment. |
| Evidence | manifest; workpaper |
| Controls | Applicable AIDCF-007 controls. |
| Critical gates | CG-11; CG-12 |
| Outputs | View, dependency map, scenarios and evidence points. |
| Reassessment | Configuration, capacity, provider, incident or evidence change. |

# System Architecture Card - Incoming power

Reusable record for incoming power.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | utility; feeders; protection; transfer |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Generation/fuel

Reusable record for generation/fuel.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | generators; starting; fuel; controls |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - UPS/storage

Reusable record for ups/storage.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | inverter; bypass; batteries |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Distribution

Reusable record for distribution.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | switchgear; busway; PDU; protection |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Air cooling

Reusable record for air cooling.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | chiller; tower; pump; CRAH; containment |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Liquid cooling

Reusable record for liquid cooling.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | CDU; loops; manifolds; fluid; leak detection |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Compute cluster

Reusable record for compute cluster.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | nodes; accelerators; scheduler; firmware |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Storage platform

Reusable record for storage platform.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | tiers; controllers; metadata; replication; checkpoint |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Network fabrics

Reusable record for network fabrics.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | scale-up; scale-out; service; storage; OOB; optics |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - BMS/EPMS

Reusable record for bms/epms.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | sensor; controller; gateway; HMI; historian |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Operations centre

Reusable record for operations centre.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | people; monitoring; work; incident; change |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# System Architecture Card - Provider ecosystem

Reusable record for provider ecosystem.

| Element | Architecture requirement |
| --- | --- |
| Purpose | Required function and linked outcomes. |
| Components/interfaces | utility; telco; water; fuel; OEM; logistics |
| Capacity/envelope | Demand, available capacity, headroom and constraints. |
| States | Normal through transition. |
| Dependencies | Upstream, shared, external and recovery. |
| Fault domains | Independence and common modes. |
| Failure | Modes and propagation. |
| Safeguards | Prevent, detect, contain, correct and recover. |
| Evidence | Design, configuration, operation and validation. |
| Controls/gates | Applicable controls and gates. |
| Owners | Design, operation, maintenance and evidence. |
| Triggers | Versioned reassessment events. |

# Interface Contract - Electrical

Minimum contract for electrical interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Thermal

Minimum contract for thermal interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Fluid

Minimum contract for fluid interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Network

Minimum contract for network interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Management

Minimum contract for management interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Data

Minimum contract for data interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Physical

Minimum contract for physical interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Operational handoff

Minimum contract for operational handoff interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Provider

Minimum contract for provider interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Interface Contract - Assurance

Minimum contract for assurance interfaces.

| Element | Architecture requirement |
| --- | --- |
| interfaceId/version | Required |
| endpoints/purpose | Required |
| properties/units | Required |
| states/transitions | Required |
| capacity/performance | Required |
| authority/change rights | Required |
| monitoring/source health | Required |
| failure/safe state | Required |
| evidence | Required |
| controls/gates | Required |
| reassessment | Required |

# Reference Pattern - Single-site training facility

Implementation pattern for single-site training facility.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Dual-site capability

Implementation pattern for dual-site capability.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Colocation deployment

Implementation pattern for colocation deployment.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Hyperscale campus

Implementation pattern for hyperscale campus.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Modular facility

Implementation pattern for modular facility.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Liquid-cooled high-density cluster

Implementation pattern for liquid-cooled high-density cluster.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Hybrid cloud/on-prem

Implementation pattern for hybrid cloud/on-prem.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Sovereign AI environment

Implementation pattern for sovereign ai environment.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Shared multi-tenant platform

Implementation pattern for shared multi-tenant platform.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Edge inference estate

Implementation pattern for edge inference estate.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Brownfield retrofit

Implementation pattern for brownfield retrofit.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Reference Pattern - Recovery-capacity pool

Implementation pattern for recovery-capacity pool.

| Element | Architecture requirement |
| --- | --- |
| Question | Can the pattern support declared outcomes in defined states? |
| Boundary | Included and external systems/providers. |
| Views | Capability, system, dependency, fault domain, state, capacity, failure and assurance. |
| Evidence | Architecture, configuration, operation, changes and validation. |
| Gates | Derived from material outcomes and dependencies. |
| UNKNOWN | Unverified shared/external reliance remains visible. |
| AITG | Reviewed native objects and handoffs. |
| Reassessment | Pattern-specific change, incident and expiry triggers. |

# Operating-state model

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| NORMAL | Required and evidence-linked. |
| MAINTENANCE | Required and evidence-linked. |
| DEGRADED | Required and evidence-linked. |
| EMERGENCY | Required and evidence-linked. |
| RECOVERY | Required and evidence-linked. |
| TRANSITION | Required and evidence-linked. |
| UNKNOWN | Required and evidence-linked. |

# Capacity and envelope

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| Demand | Required and evidence-linked. |
| Rated | Required and evidence-linked. |
| Available | Required and evidence-linked. |
| Reserved | Required and evidence-linked. |
| Consumed | Required and evidence-linked. |
| Headroom | Required and evidence-linked. |
| Constraint | Required and evidence-linked. |
| Burst | Required and evidence-linked. |
| Growth | Required and evidence-linked. |
| UNKNOWN | Required and evidence-linked. |

# Fault-domain model

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| FaultDomain | Required and evidence-linked. |
| RedundancyGroup | Required and evidence-linked. |
| IndependenceClaim | Required and evidence-linked. |
| CommonMode | Required and evidence-linked. |
| ContainmentBoundary | Required and evidence-linked. |
| BlastRadius | Required and evidence-linked. |
| RecoveryDomain | Required and evidence-linked. |
| Evidence | Required and evidence-linked. |

# Failure-path model

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| initiating source | Required and evidence-linked. |
| pre-state | Required and evidence-linked. |
| failure mode | Required and evidence-linked. |
| local effect | Required and evidence-linked. |
| dependency edge | Required and evidence-linked. |
| next entity | Required and evidence-linked. |
| safeguard | Required and evidence-linked. |
| residual state | Required and evidence-linked. |
| outcome effect | Required and evidence-linked. |
| evidence/confidence | Required and evidence-linked. |
| gate effect | Required and evidence-linked. |

# Safeguard model

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| identity | Required and evidence-linked. |
| function | Required and evidence-linked. |
| subject | Required and evidence-linked. |
| activation | Required and evidence-linked. |
| authority | Required and evidence-linked. |
| dependencies | Required and evidence-linked. |
| state coverage | Required and evidence-linked. |
| failure modes | Required and evidence-linked. |
| evidence | Required and evidence-linked. |
| control mapping | Required and evidence-linked. |

# Observability model

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| metric/event | Required and evidence-linked. |
| source | Required and evidence-linked. |
| subject | Required and evidence-linked. |
| time/clock | Required and evidence-linked. |
| state context | Required and evidence-linked. |
| quality/gaps | Required and evidence-linked. |
| threshold/owner | Required and evidence-linked. |
| alarm route | Required and evidence-linked. |
| evidence use | Required and evidence-linked. |
| blind spot | Required and evidence-linked. |

# Evidence attachment

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| assertion | Required and evidence-linked. |
| evidence classes | Required and evidence-linked. |
| source authority | Required and evidence-linked. |
| collection | Required and evidence-linked. |
| quality floor | Required and evidence-linked. |
| sufficiency | Required and evidence-linked. |
| conflict | Required and evidence-linked. |
| UNKNOWN rule | Required and evidence-linked. |
| retention | Required and evidence-linked. |
| reassessment | Required and evidence-linked. |

# Control attachment

Canonical architecture model.

| Element | Architecture requirement |
| --- | --- |
| controlId | Required and evidence-linked. |
| subject | Required and evidence-linked. |
| applicability | Required and evidence-linked. |
| dimensions | Required and evidence-linked. |
| methods | Required and evidence-linked. |
| evidence | Required and evidence-linked. |
| result/confidence | Required and evidence-linked. |
| finding/UNKNOWN | Required and evidence-linked. |
| gates | Required and evidence-linked. |
| reassessment | Required and evidence-linked. |

# Critical-gate architecture

Gate readiness is designed into the architecture.

| Gate | Architecture focus |
| --- | --- |
| CG-01 | Capability/outcome definition |
| CG-02 | Boundary/architecture integrity |
| CG-03 | Critical dependency visibility |
| CG-04 | Life safety/hazardous energy |
| CG-05 | Electrical continuity |
| CG-06 | Thermal continuity |
| CG-07 | Control-system integrity |
| CG-08 | Compute/storage/network integrity |
| CG-09 | Failure containment |
| CG-10 | Recovery readiness |
| CG-11 | Evidence sufficiency |
| CG-12 | Critical UNKNOWN |
| CG-13 | Responsibility/authority |
| CG-14 | Change control |
| CG-15 | Integrated digital authority |

# Canonical graph nodes

The graph projects the controlled architecture.

| Element | Architecture requirement |
| --- | --- |
| CapabilityInstance | Stable ID, version, source, status and classification. |
| ServiceOutcome | Stable ID, version, source, status and classification. |
| RequiredFunction | Stable ID, version, source, status and classification. |
| InfrastructureSystem | Stable ID, version, source, status and classification. |
| AssetInstance | Stable ID, version, source, status and classification. |
| Interface | Stable ID, version, source, status and classification. |
| Resource | Stable ID, version, source, status and classification. |
| Dependency | Stable ID, version, source, status and classification. |
| FaultDomain | Stable ID, version, source, status and classification. |
| OperatingState | Stable ID, version, source, status and classification. |
| FailureScenario | Stable ID, version, source, status and classification. |
| Safeguard | Stable ID, version, source, status and classification. |
| EvidenceObject | Stable ID, version, source, status and classification. |
| ControlAssessment | Stable ID, version, source, status and classification. |
| GateResult | Stable ID, version, source, status and classification. |
| AssuranceDecision | Stable ID, version, source, status and classification. |

# Canonical graph relationships

Edges preserve native meaning and evidence.

| Element | Architecture requirement |
| --- | --- |
| SUPPORTS_OUTCOME | Directed, scoped, versioned, reviewed and evidence-linked. |
| REQUIRES_FUNCTION | Directed, scoped, versioned, reviewed and evidence-linked. |
| IMPLEMENTED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| COMPOSED_OF | Directed, scoped, versioned, reviewed and evidence-linked. |
| CONNECTS_TO | Directed, scoped, versioned, reviewed and evidence-linked. |
| DEPENDS_ON | Directed, scoped, versioned, reviewed and evidence-linked. |
| SHARES_FAULT_DOMAIN_WITH | Directed, scoped, versioned, reviewed and evidence-linked. |
| LOCATED_IN | Directed, scoped, versioned, reviewed and evidence-linked. |
| OPERATED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| CONTROLLED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| MONITORED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| PROTECTED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| EXPOSED_TO | Directed, scoped, versioned, reviewed and evidence-linked. |
| PROPAGATES_TO | Directed, scoped, versioned, reviewed and evidence-linked. |
| RECOVERS_THROUGH | Directed, scoped, versioned, reviewed and evidence-linked. |
| EVIDENCED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| ASSESSED_BY | Directed, scoped, versioned, reviewed and evidence-linked. |
| CONSTRAINS_GATE | Directed, scoped, versioned, reviewed and evidence-linked. |
| LIMITS_DECISION | Directed, scoped, versioned, reviewed and evidence-linked. |
| REPORTED_IN | Directed, scoped, versioned, reviewed and evidence-linked. |
| SUPERSEDES | Directed, scoped, versioned, reviewed and evidence-linked. |
| INTEGRATION_HANDOFF | Directed, scoped, versioned, reviewed and evidence-linked. |

# Graph validation rules

Graph implementations fail safely.

| ID | Rule |
| --- | --- |
| ARA-GV-01 | Stable IDs and lineage. |
| ARA-GV-02 | Capability links outcomes. |
| ARA-GV-03 | Outcomes link functions and systems. |
| ARA-GV-04 | Dependencies have direction, conditions and evidence. |
| ARA-GV-05 | Redundancy links fault domains and independence evidence. |
| ARA-GV-06 | Scenarios include states, paths, safeguards and outcomes. |
| ARA-GV-07 | Controls link subjects and evidence. |
| ARA-GV-08 | Gates link mandatory evidence. |
| ARA-GV-09 | Decisions link scope, gates, UNKNOWN, validity and authority. |
| ARA-GV-10 | Inference cannot become fact automatically. |
| ARA-GV-11 | Connectivity does not imply causality/reachability/authority. |
| ARA-GV-12 | AIDCF/AITG decisions remain separate. |
| ARA-GV-13 | Sensitive paths are restricted. |
| ARA-GV-14 | Supersession preserves history. |

# Required work products

Select applicable products and justify omissions.

| Element | Architecture requirement |
| --- | --- |
| Capability Context Diagram | Required when material to scope and decision. |
| Service Chain Map | Required when material to scope and decision. |
| System Decomposition | Required when material to scope and decision. |
| Power Assurance View | Required when material to scope and decision. |
| Thermal/Fluid Assurance View | Required when material to scope and decision. |
| Compute/Storage/Network View | Required when material to scope and decision. |
| Dependency Graph | Required when material to scope and decision. |
| Fault-Domain Map | Required when material to scope and decision. |
| Operating-State Matrix | Required when material to scope and decision. |
| Capacity Model | Required when material to scope and decision. |
| Failure Map | Required when material to scope and decision. |
| Safeguard Map | Required when material to scope and decision. |
| Control/Evidence Matrix | Required when material to scope and decision. |
| Critical-Gate Map | Required when material to scope and decision. |
| Decision Lineage View | Required when material to scope and decision. |
| AITG Handoff Package | Required when material to scope and decision. |

# Template - Capability Record

Human and machine-readable capability record.

| Element | Architecture requirement |
| --- | --- |
| capabilityId |  |
| owner |  |
| lifecycle |  |
| workload |  |
| outcomes |  |
| demand |  |
| criticality |  |
| baseline |  |
| scope |  |
| version |  |

# Template - Outcome Record

Human and machine-readable outcome record.

| Element | Architecture requirement |
| --- | --- |
| outcomeId |  |
| statement |  |
| conditions |  |
| tolerance |  |
| functions |  |
| dependencies |  |
| safeguards |  |
| evidence |  |
| gates |  |
| owner |  |

# Template - System Record

Human and machine-readable system record.

| Element | Architecture requirement |
| --- | --- |
| systemId |  |
| purpose |  |
| type |  |
| components |  |
| interfaces |  |
| capacity |  |
| states |  |
| dependencies |  |
| faultDomains |  |
| owners |  |
| evidence |  |

# Template - Asset Record

Human and machine-readable asset record.

| Element | Architecture requirement |
| --- | --- |
| assetId |  |
| class |  |
| location |  |
| configuration |  |
| state |  |
| system |  |
| owner |  |
| lifecycle |  |
| evidence |  |

# Template - Interface Record

Human and machine-readable interface record.

| Element | Architecture requirement |
| --- | --- |
| interfaceId |  |
| endpoints |  |
| type |  |
| purpose |  |
| capacity |  |
| authority |  |
| monitoring |  |
| failure |  |
| evidence |  |

# Template - Dependency Record

Human and machine-readable dependency record.

| Element | Architecture requirement |
| --- | --- |
| dependencyId |  |
| source |  |
| target |  |
| type |  |
| conditions |  |
| criticality |  |
| substitutability |  |
| evidence |  |
| confidence |  |

# Template - FaultDomain Record

Human and machine-readable faultdomain record.

| Element | Architecture requirement |
| --- | --- |
| faultDomainId |  |
| members |  |
| source |  |
| boundary |  |
| blastRadius |  |
| safeguards |  |
| evidence |  |

# Template - Scenario Record

Human and machine-readable scenario record.

| Element | Architecture requirement |
| --- | --- |
| scenarioId |  |
| preState |  |
| source |  |
| steps |  |
| safeguards |  |
| residual |  |
| outcomeEffect |  |
| evidence |  |
| confidence |  |

# Template - Safeguard Record

Human and machine-readable safeguard record.

| Element | Architecture requirement |
| --- | --- |
| safeguardId |  |
| function |  |
| subject |  |
| activation |  |
| authority |  |
| dependencies |  |
| states |  |
| failureModes |  |
| evidence |  |

# Template - Assertion Record

Human and machine-readable assertion record.

| Element | Architecture requirement |
| --- | --- |
| assertionId |  |
| subject |  |
| predicate |  |
| value |  |
| conditions |  |
| evidence |  |
| UNKNOWN |  |
| reviewer |  |
| status |  |

# Template - Snapshot Record

Human and machine-readable snapshot record.

| Element | Architecture requirement |
| --- | --- |
| snapshotId |  |
| capability |  |
| scope |  |
| sourceVersions |  |
| nodes |  |
| edges |  |
| validation |  |
| approval |  |
| supersedes |  |

# Architecture Workflow - New capability

Need -> outcomes -> boundary -> chains -> systems -> dependencies -> states/capacity -> scenarios -> assurance -> review.

| Element | Architecture requirement |
| --- | --- |
| Flow | Need -> outcomes -> boundary -> chains -> systems -> dependencies -> states/capacity -> scenarios -> assurance -> review. |
| Entry | Authorised question and owner. |
| Outputs | Versioned architecture, evidence and validation. |
| Stop | Unsafe action, unresolved authority, source integrity or competence. |
| UNKNOWN | Preserve unresolved facts. |
| Review | Architecture, technical, evidence and independent review. |
| Trigger | Reassessment and supersession. |

# Architecture Workflow - Existing facility

Baseline -> reconcile -> discover -> UNKNOWN -> map -> validate -> gates -> snapshot.

| Element | Architecture requirement |
| --- | --- |
| Flow | Baseline -> reconcile -> discover -> UNKNOWN -> map -> validate -> gates -> snapshot. |
| Entry | Authorised question and owner. |
| Outputs | Versioned architecture, evidence and validation. |
| Stop | Unsafe action, unresolved authority, source integrity or competence. |
| UNKNOWN | Preserve unresolved facts. |
| Review | Architecture, technical, evidence and independent review. |
| Trigger | Reassessment and supersession. |

# Architecture Workflow - Material change

Detect -> impact -> suspend stale claims -> update -> reassess -> supersede.

| Element | Architecture requirement |
| --- | --- |
| Flow | Detect -> impact -> suspend stale claims -> update -> reassess -> supersede. |
| Entry | Authorised question and owner. |
| Outputs | Versioned architecture, evidence and validation. |
| Stop | Unsafe action, unresolved authority, source integrity or competence. |
| UNKNOWN | Preserve unresolved facts. |
| Review | Architecture, technical, evidence and independent review. |
| Trigger | Reassessment and supersession. |

# Architecture Workflow - Incident

Reconstruct path -> affected claims/gates -> residual state -> recovery evidence -> reassess.

| Element | Architecture requirement |
| --- | --- |
| Flow | Reconstruct path -> affected claims/gates -> residual state -> recovery evidence -> reassess. |
| Entry | Authorised question and owner. |
| Outputs | Versioned architecture, evidence and validation. |
| Stop | Unsafe action, unresolved authority, source integrity or competence. |
| UNKNOWN | Preserve unresolved facts. |
| Review | Architecture, technical, evidence and independent review. |
| Trigger | Reassessment and supersession. |

# Architecture Workflow - Continuing assurance

Register sources -> detect drift -> human triage -> reassess -> update.

| Element | Architecture requirement |
| --- | --- |
| Flow | Register sources -> detect drift -> human triage -> reassess -> update. |
| Entry | Authorised question and owner. |
| Outputs | Versioned architecture, evidence and validation. |
| Stop | Unsafe action, unresolved authority, source integrity or competence. |
| UNKNOWN | Preserve unresolved facts. |
| Review | Architecture, technical, evidence and independent review. |
| Trigger | Reassessment and supersession. |

# Architecture Workflow - AITG integration

Validate IDs -> shared identity -> reviewed handoff -> lineage/security -> federation.

| Element | Architecture requirement |
| --- | --- |
| Flow | Validate IDs -> shared identity -> reviewed handoff -> lineage/security -> federation. |
| Entry | Authorised question and owner. |
| Outputs | Versioned architecture, evidence and validation. |
| Stop | Unsafe action, unresolved authority, source integrity or competence. |
| UNKNOWN | Preserve unresolved facts. |
| Review | Architecture, technical, evidence and independent review. |
| Trigger | Reassessment and supersession. |

# Synthetic Example - Training cluster

Illustrative only, not a real design or conclusion.

| Element | Architecture requirement |
| --- | --- |
| Context | Shared cooling control across redundant trains. |
| Treatment | Model common mode and CG-06/07/09/10. |
| Views | Capability, systems, dependencies, fault domains, states/capacity, failure and assurance. |
| Decision | No positive conclusion without evidence and gate support. |
| Graph | Versioned nodes/edges with review state. |

# Synthetic Example - Colocation

Illustrative only, not a real design or conclusion.

| Element | Architecture requirement |
| --- | --- |
| Context | Customer IT depends on provider facility/operations. |
| Treatment | Separate boundaries and restricted evidence. |
| Views | Capability, systems, dependencies, fault domains, states/capacity, failure and assurance. |
| Decision | No positive conclusion without evidence and gate support. |
| Graph | Versioned nodes/edges with review state. |

# Synthetic Example - Dual-site recovery

Illustrative only, not a real design or conclusion.

| Element | Architecture requirement |
| --- | --- |
| Context | Sites share telecom and identity service. |
| Treatment | Model shared recovery dependencies and exercises. |
| Views | Capability, systems, dependencies, fault domains, states/capacity, failure and assurance. |
| Decision | No positive conclusion without evidence and gate support. |
| Graph | Versioned nodes/edges with review state. |

# Synthetic Example - Brownfield retrofit

Illustrative only, not a real design or conclusion.

| Element | Architecture requirement |
| --- | --- |
| Context | Dense load added to legacy power/air cooling. |
| Treatment | Reconcile baseline, capacity, thermal envelope and change. |
| Views | Capability, systems, dependencies, fault domains, states/capacity, failure and assurance. |
| Decision | No positive conclusion without evidence and gate support. |
| Graph | Versioned nodes/edges with review state. |

# Conformance validation

Conformant architectures pass semantic, structural, evidence, safety and lineage tests.

| ID | Validation |
| --- | --- |
| ARA-VAL-001 | Capability/outcomes explicit. |
| ARA-VAL-002 | Functions precede products. |
| ARA-VAL-003 | Scope/external dependencies visible. |
| ARA-VAL-004 | Stable IDs. |
| ARA-VAL-005 | States/transitions represented. |
| ARA-VAL-006 | Capacity claims conditioned/evidenced. |
| ARA-VAL-007 | Fault domains/common modes mapped. |
| ARA-VAL-008 | Dependencies evidenced or UNKNOWN. |
| ARA-VAL-009 | Failure paths link safeguards/outcomes. |
| ARA-VAL-010 | Controls attach subjects. |
| ARA-VAL-011 | Evidence attaches assertions. |
| ARA-VAL-012 | Gates separate from scores. |
| ARA-VAL-013 | Decision lineage complete. |
| ARA-VAL-014 | AIDCF/AITG semantics native. |
| ARA-VAL-015 | Sensitive paths controlled. |
| ARA-VAL-016 | Automation cannot approve facts. |
| ARA-VAL-017 | Snapshots immutable/superseded. |
| ARA-VAL-018 | Safety/engineering boundaries preserved. |

# Review and release gates

Draft pending multidisciplinary review and pilots.

| Reviewer/pilot | Status |
| --- | --- |
| Methodology author | Pending |
| Data-centre architect | Pending |
| Electrical engineer | Pending |
| Mechanical/liquid-cooling engineer | Pending |
| AI/HPC architect | Pending |
| Storage architect | Pending |
| Network architect | Pending |
| Operations/reliability | Pending |
| OT/security | Pending |
| Evidence specialist | Pending |
| Ontology/graph engineer | Pending |
| Safety/legal/privacy | Pending |
| Colocation pilot | Pending |
| High-density cooling pilot | Pending |
| Hybrid/sovereign pilot | Pending |
| AITG pilot | Pending |
| Public release | Pending |

## Final architecture doctrine

AIDCF-013 makes the assurance subject and dependencies explicit. It is not a vendor design, equipment checklist or substitute for licensed engineering. Where architecture or evidence is incomplete, AIDCF preserves UNKNOWN and limits assurance.