AIDCF

AI Data Centre Facilities Assurance Framework

ASSESSMENT METHODOLOGY
ENHANCED PRACTITIONER HANDBOOK

Version 1.1

Decision trees • 360 control-level procedures • 15 inspection checklists • evidence playbooks • CG-01 to CG-15 workbooks • synthetic completed examples • assessor competence/accreditation • AITG ingestion mappings

Artifact ID: AIDCF-AM-001
Basis: Existing AIDCF-009 Practitioner Handbook v1.0 only
Author: Siva Sethumadhavan
Status: Draft for controlled review

# Document control

| Field | Value |
| --- | --- |
| Source boundary | Only the structure, concepts, domains, families, controls, evidence references, gates, roles, methods and workpaper patterns already present in AIDCF-009 v1.0. |
| Control universe | 15 domains, 90 families and 360 controls. |
| Change | Additive enhancement; v1.0 doctrine and lifecycle are preserved. |
| Enhancements | Decision trees; individual procedures; inspection; evidence; gates; examples; competency/accreditation; AITG ingestion. |
| Safety | No hazardous or disruptive testing without explicit authority and competent engineering governance. |
| Assurance | UNKNOWN remains visible; gates are non-compensating; automation cannot approve material decisions. |

## Preserved lifecycle

Initiate -> Profile -> Scope -> Tailor -> Plan -> Collect -> Validate -> Assess -> Analyse -> Gate -> Find -> Review -> Decide -> Report -> Reassess

# Part I - Detailed assessor decision trees

## DT-01 Assessment acceptance

Decision question explicit and authorised?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Decision question explicit and authorised? | Evidence and rationale. |
| 3 | No: rework/stop. Yes: capability check. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-02 Capability definition

Capability, owner and outcomes defined?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Capability, owner and outcomes defined? | Evidence and rationale. |
| 3 | No: CG-01 UNKNOWN. Yes: boundary. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-03 Boundary completeness

All material boundaries and exclusions approved?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | All material boundaries and exclusions approved? | Evidence and rationale. |
| 3 | No: CG-02 UNKNOWN. Yes: dependencies. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-04 Applicability

Material to capability, outcome, dependency or state?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Material to capability, outcome, dependency or state? | Evidence and rationale. |
| 3 | Yes: apply. No: approve N/A rationale. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-05 Evidence acceptance

Source, scope, time, integrity and review adequate?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Source, scope, time, integrity and review adequate? | Evidence and rationale. |
| 3 | No: reject/restrict/UNKNOWN. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-06 Evidence freshness

Represents current baseline and state?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Represents current baseline and state? | Evidence and rationale. |
| 3 | No: stale; request current evidence. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-07 Evidence conflict

Material evidence supports incompatible assertions?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Material evidence supports incompatible assertions? | Evidence and rationale. |
| 3 | Preserve both; investigate; unresolved = UNKNOWN. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-08 Sampling

Exception or population defect found?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Exception or population defect found? | Evidence and rationale. |
| 3 | Expand by risk/strata; unreliable frame = UNKNOWN. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-09 Interview

Material claim corroborated?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Material claim corroborated? | Evidence and rationale. |
| 3 | No: contextual evidence only. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-10 Site safety

Induction, route, permits and stop authority ready?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Induction, route, permits and stop authority ready? | Evidence and rationale. |
| 3 | No/unsafe: STOP. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-11 Testing

Authority, initial state, method, instruments, abort and rollback ready?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Authority, initial state, method, instruments, abort and rollback ready? | Evidence and rationale. |
| 3 | No: do not test. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-12 Control result

Evidence meets criterion at target assurance level?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Evidence meets criterion at target assurance level? | Evidence and rationale. |
| 3 | Yes: bounded positive. No: partial/adverse/UNKNOWN. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-13 Failure path

Path segments and dependencies evidenced?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Path segments and dependencies evidenced? | Evidence and rationale. |
| 3 | No: candidate path/UNKNOWN. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-14 Gate applicability

Gate material to capability/outcome?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Gate material to capability/outcome? | Evidence and rationale. |
| 3 | Yes: apply profile. No: approved N/A. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-15 Gate status

Criterion and evidence floor satisfied?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Criterion and evidence floor satisfied? | Evidence and rationale. |
| 3 | Pass; demonstrated unmet = Fail; insufficient = UNKNOWN. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-16 Finding

Evidenced variance from criterion?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Evidenced variance from criterion? | Evidence and rationale. |
| 3 | Yes: finding and gate review. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-17 Critical UNKNOWN

Could unknown defeat outcome or gate?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Could unknown defeat outcome or gate? | Evidence and rationale. |
| 3 | Yes: ceiling/suspension. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-18 Independent review

Decision traceable to evidence, findings and gates?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Decision traceable to evidence, findings and gates? | Evidence and rationale. |
| 3 | No: return. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-19 Assurance decision

Gates, evidence, limitations and review complete?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Gates, evidence, limitations and review complete? | Evidence and rationale. |
| 3 | No: limit, adverse, unknown or withhold. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

## DT-20 Reassessment

Material change, incident, expiry or outcome change?

| Node | Decision/action | Record |
| --- | --- | --- |
| 1 | Identify subject, scope and decision question. | Tree instance ID. |
| 2 | Material change, incident, expiry or outcome change? | Evidence and rationale. |
| 3 | Yes: suspend affected claim; delta/full reassessment. | Selected branch. |
| 4 | Evaluate UNKNOWN, critical gate and assurance ceiling. | Linked records. |
| 5 | Obtain technical/independent review where material. | Reviewer decision. |
| 6 | Terminate in Proceed, Rework, Escalate, UNKNOWN, Stop or Decision Review. | Outcome and version. |

Retain contrary evidence.

Tree aids professional judgment; it does not approve decisions autonomously.

# Part II - Full control-level procedures for all 360 controls

Every control position already present in AIDCF-009 is expanded below. IDs remain MCF-[DOMAIN]-001 to 024 in each domain.

# GOV - Governance, Accountability and Assurance Direction

Primary gates: CG-13; CG-14. Baseline evidence: charters, roles, policies, minutes and reviews.

## GOV-01 Governance architecture

### MCF-GOV-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether governance architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether governance architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether governance architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether governance architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

## GOV-02 Accountability and responsibility

### MCF-GOV-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether accountability and responsibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether accountability and responsibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether accountability and responsibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether accountability and responsibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

## GOV-03 Policy and standards management

### MCF-GOV-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether policy and standards management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether policy and standards management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether policy and standards management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether policy and standards management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

## GOV-04 Risk and assurance governance

### MCF-GOV-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether risk and assurance governance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether risk and assurance governance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether risk and assurance governance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether risk and assurance governance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

## GOV-05 Stakeholder and regulatory interface

### MCF-GOV-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether stakeholder and regulatory interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether stakeholder and regulatory interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether stakeholder and regulatory interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether stakeholder and regulatory interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

## GOV-06 Ethics, impartiality and competence

### MCF-GOV-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ethics, impartiality and competence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ethics, impartiality and competence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ethics, impartiality and competence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-GOV-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ethics, impartiality and competence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request charters, roles, policies, minutes and reviews; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-13; CG-14; obtain review and set reassessment trigger. |

# CAP - AI Capability, Service Outcome and Demand Management

Primary gates: CG-01; CG-02. Baseline evidence: capability, outcomes, demand, tolerances and architecture.

## CAP-01 Capability inventory

### MCF-CAP-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability inventory supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability inventory supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability inventory supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability inventory supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

## CAP-02 Service outcome definition

### MCF-CAP-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether service outcome definition supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether service outcome definition supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether service outcome definition supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether service outcome definition supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

## CAP-03 Criticality and materiality

### MCF-CAP-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether criticality and materiality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether criticality and materiality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether criticality and materiality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether criticality and materiality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

## CAP-04 Demand and growth modelling

### MCF-CAP-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether demand and growth modelling supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether demand and growth modelling supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether demand and growth modelling supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether demand and growth modelling supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

## CAP-05 Operating envelope

### MCF-CAP-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating envelope supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating envelope supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating envelope supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating envelope supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

## CAP-06 Capability lifecycle and change

### MCF-CAP-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability lifecycle and change supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability lifecycle and change supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability lifecycle and change supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

### MCF-CAP-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capability lifecycle and change supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request capability, outcomes, demand, tolerances and architecture; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-01; CG-02; obtain review and set reassessment trigger. |

# DEP - Dependency, Concentration and External Reliance Management

Primary gates: CG-03; CG-12. Baseline evidence: dependency graphs, contracts, routes and provider evidence.

## DEP-01 Dependency discovery

### MCF-DEP-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency discovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency discovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency discovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency discovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

## DEP-02 Shared and common-mode dependencies

### MCF-DEP-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether shared and common-mode dependencies supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether shared and common-mode dependencies supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether shared and common-mode dependencies supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether shared and common-mode dependencies supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

## DEP-03 External providers and utilities

### MCF-DEP-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether external providers and utilities supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether external providers and utilities supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether external providers and utilities supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether external providers and utilities supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

## DEP-04 Concentration and substitutability

### MCF-DEP-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether concentration and substitutability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether concentration and substitutability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether concentration and substitutability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether concentration and substitutability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

## DEP-05 Boundary and interface control

### MCF-DEP-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether boundary and interface control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether boundary and interface control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether boundary and interface control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether boundary and interface control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

## DEP-06 Dependency monitoring and review

### MCF-DEP-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency monitoring and review supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency monitoring and review supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency monitoring and review supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

### MCF-DEP-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether dependency monitoring and review supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request dependency graphs, contracts, routes and provider evidence; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-12; obtain review and set reassessment trigger. |

# PHY - Physical Site, Building and Security Infrastructure

Primary gates: CG-02; CG-04. Baseline evidence: site studies, drawings, inspections, access and life-safety records.

## PHY-01 Site and location resilience

### MCF-PHY-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether site and location resilience supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether site and location resilience supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether site and location resilience supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether site and location resilience supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## PHY-02 Building and structural integrity

### MCF-PHY-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether building and structural integrity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether building and structural integrity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether building and structural integrity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether building and structural integrity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## PHY-03 Physical zoning and segregation

### MCF-PHY-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical zoning and segregation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical zoning and segregation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical zoning and segregation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical zoning and segregation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## PHY-04 Access and surveillance

### MCF-PHY-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether access and surveillance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether access and surveillance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether access and surveillance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether access and surveillance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## PHY-05 Asset movement and custody

### MCF-PHY-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether asset movement and custody supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether asset movement and custody supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether asset movement and custody supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether asset movement and custody supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## PHY-06 Fire, life safety and emergency interfaces

### MCF-PHY-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fire, life safety and emergency interfaces supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fire, life safety and emergency interfaces supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fire, life safety and emergency interfaces supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-PHY-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fire, life safety and emergency interfaces supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request site studies, drawings, inspections, access and life-safety records; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

# POW - Electrical Power Infrastructure and Energy Continuity

Primary gates: CG-05. Baseline evidence: SLD, studies, settings, telemetry, maintenance and tests.

## POW-01 Utility and grid interface

### MCF-POW-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether utility and grid interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether utility and grid interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether utility and grid interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether utility and grid interface supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

## POW-02 Generation and fuel

### MCF-POW-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether generation and fuel supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether generation and fuel supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether generation and fuel supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether generation and fuel supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

## POW-03 UPS and energy storage

### MCF-POW-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ups and energy storage supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ups and energy storage supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ups and energy storage supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ups and energy storage supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

## POW-04 Distribution and protection

### MCF-POW-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether distribution and protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether distribution and protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether distribution and protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether distribution and protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

## POW-05 Power quality and transient response

### MCF-POW-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether power quality and transient response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether power quality and transient response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether power quality and transient response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether power quality and transient response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

## POW-06 Electrical monitoring, maintenance and recovery

### MCF-POW-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether electrical monitoring, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether electrical monitoring, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether electrical monitoring, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

### MCF-POW-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether electrical monitoring, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request SLD, studies, settings, telemetry, maintenance and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-05; obtain review and set reassessment trigger. |

# THM - Cooling, Thermal and Fluid Infrastructure

Primary gates: CG-06. Baseline evidence: P&ID, models, controls, telemetry, fluids and tests.

## THM-01 Thermal architecture and capacity

### MCF-THM-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal architecture and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal architecture and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal architecture and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal architecture and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

## THM-02 Air cooling systems

### MCF-THM-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether air cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether air cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether air cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether air cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

## THM-03 Liquid cooling systems

### MCF-THM-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether liquid cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether liquid cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether liquid cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether liquid cooling systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

## THM-04 Heat rejection and water systems

### MCF-THM-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether heat rejection and water systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether heat rejection and water systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether heat rejection and water systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether heat rejection and water systems supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

## THM-05 Fluid quality and leak management

### MCF-THM-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fluid quality and leak management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fluid quality and leak management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fluid quality and leak management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fluid quality and leak management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

## THM-06 Thermal control, maintenance and recovery

### MCF-THM-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal control, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal control, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal control, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

### MCF-THM-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether thermal control, maintenance and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request P&ID, models, controls, telemetry, fluids and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-06; obtain review and set reassessment trigger. |

# ENV - Environmental and Resource Performance

Primary gates: CG-02; CG-04. Baseline evidence: environmental telemetry, meters, permits and calculations.

## ENV-01 Environmental operating conditions

### MCF-ENV-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether environmental operating conditions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether environmental operating conditions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether environmental operating conditions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether environmental operating conditions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## ENV-02 Energy performance

### MCF-ENV-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether energy performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether energy performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether energy performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether energy performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## ENV-03 Water performance

### MCF-ENV-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether water performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether water performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether water performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether water performance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## ENV-04 Carbon and resource reporting

### MCF-ENV-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether carbon and resource reporting supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether carbon and resource reporting supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether carbon and resource reporting supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether carbon and resource reporting supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## ENV-05 Hazardous materials and waste

### MCF-ENV-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hazardous materials and waste supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hazardous materials and waste supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hazardous materials and waste supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hazardous materials and waste supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

## ENV-06 Climate adaptation and resource continuity

### MCF-ENV-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether climate adaptation and resource continuity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether climate adaptation and resource continuity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether climate adaptation and resource continuity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

### MCF-ENV-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether climate adaptation and resource continuity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request environmental telemetry, meters, permits and calculations; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-02; CG-04; obtain review and set reassessment trigger. |

# CMP - AI Compute Infrastructure

Primary gates: CG-08. Baseline evidence: topology, firmware, configuration, telemetry and tests.

## CMP-01 Compute architecture and configuration

### MCF-CMP-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute architecture and configuration supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute architecture and configuration supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute architecture and configuration supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute architecture and configuration supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## CMP-02 Cluster and scale-up domains

### MCF-CMP-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether cluster and scale-up domains supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether cluster and scale-up domains supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether cluster and scale-up domains supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether cluster and scale-up domains supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## CMP-03 Capacity, scheduling and utilisation

### MCF-CMP-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity, scheduling and utilisation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity, scheduling and utilisation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity, scheduling and utilisation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity, scheduling and utilisation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## CMP-04 Firmware, driver and compatibility

### MCF-CMP-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether firmware, driver and compatibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether firmware, driver and compatibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether firmware, driver and compatibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether firmware, driver and compatibility supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## CMP-05 Compute health and observability

### MCF-CMP-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute health and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute health and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute health and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute health and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## CMP-06 Compute lifecycle and recovery

### MCF-CMP-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute lifecycle and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute lifecycle and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute lifecycle and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-CMP-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether compute lifecycle and recovery supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, firmware, configuration, telemetry and tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

# STO - AI Storage and Data Infrastructure

Primary gates: CG-08; CG-10. Baseline evidence: architecture, integrity, performance, replication and recovery tests.

## STO-01 Storage architecture and tiering

### MCF-STO-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage architecture and tiering supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage architecture and tiering supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage architecture and tiering supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage architecture and tiering supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

## STO-02 Performance and capacity

### MCF-STO-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and capacity supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

## STO-03 Integrity and consistency

### MCF-STO-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether integrity and consistency supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether integrity and consistency supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether integrity and consistency supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether integrity and consistency supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

## STO-04 Protection and replication

### MCF-STO-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether protection and replication supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether protection and replication supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether protection and replication supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether protection and replication supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

## STO-05 Checkpoint and recovery services

### MCF-STO-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether checkpoint and recovery services supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether checkpoint and recovery services supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether checkpoint and recovery services supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether checkpoint and recovery services supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

## STO-06 Storage monitoring and lifecycle

### MCF-STO-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage monitoring and lifecycle supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage monitoring and lifecycle supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage monitoring and lifecycle supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

### MCF-STO-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage monitoring and lifecycle supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request architecture, integrity, performance, replication and recovery tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; CG-10; obtain review and set reassessment trigger. |

# NET - AI Network and Interconnect Architecture

Primary gates: CG-08. Baseline evidence: topology, cabling, configuration, telemetry and failover tests.

## NET-01 Scale-up and scale-out fabrics

### MCF-NET-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether scale-up and scale-out fabrics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether scale-up and scale-out fabrics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether scale-up and scale-out fabrics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether scale-up and scale-out fabrics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## NET-02 Performance and congestion control

### MCF-NET-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and congestion control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and congestion control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and congestion control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether performance and congestion control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## NET-03 Storage and service networks

### MCF-NET-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage and service networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage and service networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage and service networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether storage and service networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## NET-04 Management and out-of-band networks

### MCF-NET-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether management and out-of-band networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether management and out-of-band networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether management and out-of-band networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether management and out-of-band networks supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## NET-05 Physical connectivity and optics

### MCF-NET-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical connectivity and optics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical connectivity and optics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical connectivity and optics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether physical connectivity and optics supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

## NET-06 Network control and observability

### MCF-NET-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network control and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network control and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network control and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

### MCF-NET-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network control and observability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request topology, cabling, configuration, telemetry and failover tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-08; obtain review and set reassessment trigger. |

# OPS - Building Operations and Service Management

Primary gates: CG-07; CG-13; CG-14. Baseline evidence: procedures, work orders, alarms, incidents and changes.

## OPS-01 Operating model and staffing

### MCF-OPS-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating model and staffing supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating model and staffing supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating model and staffing supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether operating model and staffing supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

## OPS-02 Procedure and work control

### MCF-OPS-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether procedure and work control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether procedure and work control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether procedure and work control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether procedure and work control supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

## OPS-03 Maintenance and reliability

### MCF-OPS-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether maintenance and reliability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether maintenance and reliability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether maintenance and reliability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether maintenance and reliability supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

## OPS-04 Alarm, incident and problem management

### MCF-OPS-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether alarm, incident and problem management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether alarm, incident and problem management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether alarm, incident and problem management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether alarm, incident and problem management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

## OPS-05 Change and configuration management

### MCF-OPS-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether change and configuration management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether change and configuration management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether change and configuration management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether change and configuration management supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

## OPS-06 Capacity and service operations

### MCF-OPS-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity and service operations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity and service operations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity and service operations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

### MCF-OPS-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether capacity and service operations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request procedures, work orders, alarms, incidents and changes; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-13; CG-14; obtain review and set reassessment trigger. |

# RES - Resilience, Continuity and Recovery

Primary gates: CG-09; CG-10. Baseline evidence: scenarios, continuity/recovery plans, exercises and retests.

## RES-01 Resilience strategy

### MCF-RES-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether resilience strategy supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether resilience strategy supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether resilience strategy supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether resilience strategy supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

## RES-02 Fault-domain and containment design

### MCF-RES-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fault-domain and containment design supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fault-domain and containment design supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fault-domain and containment design supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether fault-domain and containment design supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

## RES-03 Continuity planning

### MCF-RES-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether continuity planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether continuity planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether continuity planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether continuity planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

## RES-04 Recovery planning

### MCF-RES-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether recovery planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether recovery planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether recovery planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether recovery planning supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

## RES-05 Testing and exercising

### MCF-RES-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether testing and exercising supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether testing and exercising supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether testing and exercising supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether testing and exercising supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

## RES-06 Crisis and adaptive response

### MCF-RES-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether crisis and adaptive response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether crisis and adaptive response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether crisis and adaptive response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

### MCF-RES-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether crisis and adaptive response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request scenarios, continuity/recovery plans, exercises and retests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-09; CG-10; obtain review and set reassessment trigger. |

# SUP - Supply Chain, OEM and Ecosystem Assurance

Primary gates: CG-03; CG-13. Baseline evidence: due diligence, contracts, provenance, support and spares.

## SUP-01 Supplier due diligence

### MCF-SUP-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether supplier due diligence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether supplier due diligence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether supplier due diligence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether supplier due diligence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

## SUP-02 Contract and service obligations

### MCF-SUP-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether contract and service obligations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether contract and service obligations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether contract and service obligations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether contract and service obligations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

## SUP-03 Hardware and component provenance

### MCF-SUP-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hardware and component provenance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hardware and component provenance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hardware and component provenance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether hardware and component provenance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

## SUP-04 Software, firmware and update supply

### MCF-SUP-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether software, firmware and update supply supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether software, firmware and update supply supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether software, firmware and update supply supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether software, firmware and update supply supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

## SUP-05 Spares, logistics and obsolescence

### MCF-SUP-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether spares, logistics and obsolescence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether spares, logistics and obsolescence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether spares, logistics and obsolescence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether spares, logistics and obsolescence supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

## SUP-06 Remote support and third-party access

### MCF-SUP-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether remote support and third-party access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether remote support and third-party access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether remote support and third-party access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

### MCF-SUP-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether remote support and third-party access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request due diligence, contracts, provenance, support and spares; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-03; CG-13; obtain review and set reassessment trigger. |

# SEC - Digital, OT and Control-Plane Security

Primary gates: CG-07; CG-15. Baseline evidence: identity, privilege, configuration, logs and authorised tests.

## SEC-01 Identity and privileged access

### MCF-SEC-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether identity and privileged access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether identity and privileged access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether identity and privileged access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether identity and privileged access supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

## SEC-02 Control-plane protection

### MCF-SEC-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether control-plane protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether control-plane protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether control-plane protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether control-plane protection supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

## SEC-03 Network security and segmentation

### MCF-SEC-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network security and segmentation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network security and segmentation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network security and segmentation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether network security and segmentation supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

## SEC-04 Configuration, vulnerability and patching

### MCF-SEC-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether configuration, vulnerability and patching supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether configuration, vulnerability and patching supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether configuration, vulnerability and patching supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether configuration, vulnerability and patching supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

## SEC-05 Detection and response

### MCF-SEC-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether detection and response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether detection and response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether detection and response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether detection and response supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

## SEC-06 AI-enabled and automated action

### MCF-SEC-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ai-enabled and automated action supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ai-enabled and automated action supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ai-enabled and automated action supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

### MCF-SEC-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether ai-enabled and automated action supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request identity, privilege, configuration, logs and authorised tests; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-07; CG-15; obtain review and set reassessment trigger. |

# EVA - Evidence, Assessment and Assurance Management

Primary gates: CG-11; CG-12. Baseline evidence: manifests, workpapers, findings, gates and decisions.

## EVA-01 Evidence architecture

### MCF-EVA-001 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-002 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-003 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-004 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence architecture supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

## EVA-02 Evidence provenance and quality

### MCF-EVA-005 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence provenance and quality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-006 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence provenance and quality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-007 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence provenance and quality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-008 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether evidence provenance and quality supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

## EVA-03 Assessment planning and execution

### MCF-EVA-009 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether assessment planning and execution supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-010 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether assessment planning and execution supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-011 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether assessment planning and execution supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-012 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether assessment planning and execution supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

## EVA-04 Findings, UNKNOWN and limitations

### MCF-EVA-013 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether findings, unknown and limitations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-014 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether findings, unknown and limitations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-015 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether findings, unknown and limitations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-016 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether findings, unknown and limitations supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

## EVA-05 Critical gates and decisions

### MCF-EVA-017 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether critical gates and decisions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-018 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether critical gates and decisions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-019 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether critical gates and decisions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-020 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether critical gates and decisions supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

## EVA-06 Reassessment and continuing assurance

### MCF-EVA-021 - Design and governance

Define authority, scope, measurable acceptance criteria, dependencies, applicable states, evidence owner and trigger.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether reassessment and continuing assurance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-022 - Implementation and configuration

Reconcile approved design to current implemented/as-built state, interfaces and controlled exceptions.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether reassessment and continuing assurance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-023 - Operation and monitoring

Evaluate representative operations, monitoring health, exceptions, incidents, work and operator response.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether reassessment and continuing assurance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

### MCF-EVA-024 - Effectiveness, failure and recovery

Evaluate credible failure, safeguards, residual state, recovery and authorised validation evidence.

| Element | Assessor procedure |
| --- | --- |
| Objective | Determine whether reassessment and continuing assurance supports the Capability Instance and Service Outcomes. |
| Scope | Record subject, owner, boundary, lifecycle, states, interfaces and providers. |
| Applicability | Justify Apply or approved N/A; missing evidence is UNKNOWN. |
| Evidence | Request manifests, workpapers, findings, gates and decisions; state claim, class, source, period, state and quality floor. |
| Method | Select authorised review, interview, inspection, analytics, sampling or test proportionate to consequence. |
| Design | Verify approved intent, criteria, architecture alignment and decision rights. |
| Implementation | Reconcile baseline, current state and deviations. |
| Operation | Examine representative records, monitoring, exceptions and incidents. |
| Failure/recovery | Trace dependencies, common mode, safeguard action, residual state and recovery. |
| Evidence assessment | Evaluate provenance, freshness, coverage, reliability, traceability, integrity and sufficiency. |
| Result | Record lens-specific result, confidence, finding, conflict and UNKNOWN. |
| Gate/review | Evaluate CG-11; CG-12; obtain review and set reassessment trigger. |

# Part III - Site-inspection checklists by domain

## INS-GOV Governance, Accountability and Assurance Direction

Inspection focus: governance contacts; procedures; decision logs; exceptions; evidence access.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-GOV-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-GOV-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-GOV-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-GOV-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-GOV-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-GOV-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-CAP AI Capability, Service Outcome and Demand Management

Inspection focus: capability identity; installed capacity; operating state; demand constraints; owner.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-CAP-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-CAP-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-CAP-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-CAP-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-CAP-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-CAP-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-DEP Dependency, Concentration and External Reliance Management

Inspection focus: demarcations; shared routes; providers; common modes; alternatives.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-DEP-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-DEP-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-DEP-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-DEP-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-DEP-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-DEP-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-PHY Physical Site, Building and Security Infrastructure

Inspection focus: perimeter; structure; zoning; access; surveillance; custody; life safety.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-PHY-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-PHY-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-PHY-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-PHY-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-PHY-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-PHY-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-POW Electrical Power Infrastructure and Energy Continuity

Inspection focus: utility; generators; fuel; UPS; distribution; A/B separation; EPMS.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-POW-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-POW-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-POW-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-POW-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-POW-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-POW-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-THM Cooling, Thermal and Fluid Infrastructure

Inspection focus: plant; airflow; liquid loops; leak detection; water; BMS; recovery.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-THM-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-THM-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-THM-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-THM-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-THM-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-THM-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-ENV Environmental and Resource Performance

Inspection focus: sensors; meters; water; hazardous materials; waste; climate provisions.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-ENV-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-ENV-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-ENV-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-ENV-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-ENV-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-ENV-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-CMP AI Compute Infrastructure

Inspection focus: nodes; topology; density; firmware interfaces; health; recovery.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-CMP-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-CMP-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-CMP-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-CMP-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-CMP-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-CMP-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-STO AI Storage and Data Infrastructure

Inspection focus: tiers; fabrics; integrity; replication; checkpoint; restore; lifecycle.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-STO-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-STO-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-STO-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-STO-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-STO-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-STO-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-NET AI Network and Interconnect Architecture

Inspection focus: fabrics; cabling; optics; separation; congestion; OOB; spares.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-NET-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-NET-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-NET-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-NET-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-NET-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-NET-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-OPS Building Operations and Service Management

Inspection focus: staffing; work control; maintenance; alarms; incidents; changes; housekeeping.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-OPS-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-OPS-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-OPS-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-OPS-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-OPS-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-OPS-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-RES Resilience, Continuity and Recovery

Inspection focus: fault domains; containment; continuity; recovery; exercise; crisis fallback.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-RES-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-RES-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-RES-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-RES-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-RES-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-RES-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-SUP Supply Chain, OEM and Ecosystem Assurance

Inspection focus: supplier identity; provenance; update path; spares; remote support; exit.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-SUP-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-SUP-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-SUP-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-SUP-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-SUP-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-SUP-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-SEC Digital, OT and Control-Plane Security

Inspection focus: privileged access; consoles; segmentation; remote gateways; logs; automation.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-SEC-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-SEC-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-SEC-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-SEC-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-SEC-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-SEC-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

## INS-EVA Evidence, Assessment and Assurance Management

Inspection focus: repositories; manifests; custody; findings; UNKNOWN; gates; supersession.

| ID | Inspection action | Record |
| --- | --- | --- |
| INS-EVA-01 | Confirm induction, authorised route and stop authority. | Location; subject; state; observation; evidence; variance; action |
| INS-EVA-02 | Identify subject, location, state and boundary. | Location; subject; state; observation; evidence; variance; action |
| INS-EVA-03 | Reconcile sampled assets/zones to the approved record. | Location; subject; state; observation; evidence; variance; action |
| INS-EVA-04 | Observe condition, labels, alarms, maintenance and temporary arrangements. | Location; subject; state; observation; evidence; variance; action |
| INS-EVA-05 | Record inaccessible scope, deviation, evidence ID and follow-up. | Location; subject; state; observation; evidence; variance; action |
| INS-EVA-06 | Do not operate equipment without explicit authority. | Location; subject; state; observation; evidence; variance; action |

# Part IV - Evidence collection playbooks linked to AIDCF-008

## E1 Documentary E1 Documentary

| Field | Requirement |
| --- | --- |
| Examples | policies, standards, procedures, drawings, contracts and inventories |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Authority, approval, version, scope, effective date and supersession. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Design/intent; not operation alone. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

## E2 Configuration E2 Configuration

| Field | Requirement |
| --- | --- |
| Examples | settings, firmware, topology, manifests and access policy |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Authorised source, extraction method, subject, time, privilege and baseline. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Implementation/current state. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

## E3 Operational E3 Operational

| Field | Requirement |
| --- | --- |
| Examples | telemetry, logs, alarms, work orders, incidents and observation |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Source health, clocks, period, gaps, filters and state coverage. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Operation under represented conditions. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

## E4 Test E4 Test

| Field | Requirement |
| --- | --- |
| Examples | commissioning, functional, load, failover, recovery and exercises |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Authority, initial state, method, instrumentation, abort, result and restoration. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Effectiveness/resilience within test conditions. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

## E5 Independent E5 Independent

| Field | Requirement |
| --- | --- |
| Examples | audit, specialist review, witness and provider assurance |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Issuer competence, independence, scope, method, exclusions and currency. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Corroboration; no inherited assurance. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

## E6 Human E6 Human

| Field | Requirement |
| --- | --- |
| Examples | interview, walkthrough, demonstration and expert judgment |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Role, objective, responses, handling, corroboration and contradiction. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Context/practice; corroborate technical claims. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

## E7 Derived E7 Derived

| Field | Requirement |
| --- | --- |
| Examples | trends, models, query results and failure/dependency analysis |
| Evidence request | Assertion, subject, boundary, period, state, quality and sufficiency floor. |
| Collection | Sources, transformation, query/model version, assumptions and reviewer. |
| Metadata | Evidence ID, source, collector, custodian, classification, location, version, integrity. |
| Quality | Provenance, freshness, coverage, reliability, traceability and integrity. |
| Use boundary | Synthesis; cannot exceed source lineage. |
| Conflict | Retain supporting, challenging and qualifying links separately. |
| UNKNOWN | Create when mandatory type, source, integrity, coverage or method is unresolved. |
| Review | Collector, assessor, technical reviewer and acceptance state. |

# Part V - CG-01 to CG-15 gate evaluation workbooks

## CG-01 Evaluation Workbook - Capability and outcome definition

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Capability and outcome definition |
| Mandatory evidence | capability, owner, outcomes, tolerances, criticality, architecture |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-02 Evaluation Workbook - Boundary and architecture integrity

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Boundary and architecture integrity |
| Mandatory evidence | approved boundary, current architecture, as-built reconciliation, exclusions |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-03 Evaluation Workbook - Critical dependency visibility

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Critical dependency visibility |
| Mandatory evidence | dependency graph, providers, routes, common modes, ownership |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-04 Evaluation Workbook - Life safety and hazardous energy

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Life safety and hazardous energy |
| Mandatory evidence | authorised safety/engineering records, inspections, permits, tests |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-05 Evaluation Workbook - Resilient electrical supply

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Resilient electrical supply |
| Mandatory evidence | SLD, studies, generation/UPS tests, fuel, maintenance, telemetry |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-06 Evaluation Workbook - Thermal continuity

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Thermal continuity |
| Mandatory evidence | thermal design, P&ID, telemetry, leak, failover and recovery tests |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-07 Evaluation Workbook - Critical control-system integrity

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Critical control-system integrity |
| Mandatory evidence | control architecture, configuration, authority, telemetry, fail-safe tests |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-08 Evaluation Workbook - Compute/storage/network functional integrity

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Compute/storage/network functional integrity |
| Mandatory evidence | topology, configuration, performance, health, error and recovery evidence |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-09 Evaluation Workbook - Failure containment

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Failure containment |
| Mandatory evidence | fault domains, isolation, common-mode scenarios and containment evidence |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-10 Evaluation Workbook - Recovery readiness

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Recovery readiness |
| Mandatory evidence | recovery plan, prerequisites, exercise, defects and retest |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-11 Evaluation Workbook - Evidence sufficiency

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Evidence sufficiency |
| Mandatory evidence | requirements, manifest, quality, sufficiency, conflicts and limitations |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-12 Evaluation Workbook - Critical UNKNOWN

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Critical UNKNOWN |
| Mandatory evidence | UNKNOWN record, consequence, evidence needed, owner and ceiling |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-13 Evaluation Workbook - Responsibility and authority

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Responsibility and authority |
| Mandatory evidence | RACI, delegations, clauses, escalation and decision rights |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-14 Evaluation Workbook - Change control

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Change control |
| Mandatory evidence | baseline, impact, change, test/rollback, approval and validation |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

## CG-15 Evaluation Workbook - Integrated digital authority

| Field | Required entry |
| --- | --- |
| Applicability | Capability, outcome, subject, boundary and rationale. |
| Criterion | Integrated digital authority |
| Mandatory evidence | identity, privilege, reachability, sessions, action limits and rollback |
| Evidence IDs | Supporting, challenging, qualifying, missing and restricted. |
| Quality/sufficiency | Dimension grades and package conclusion. |
| States/scenarios | Relevant normal, maintenance, degraded, emergency, recovery and transition. |
| Methods | Review, reconciliation, inspection, analysis, sampling or authorised test. |
| Findings/UNKNOWN | IDs, consequence, evidence needed and owner. |
| Status | PASS; FAIL; UNKNOWN; approved N/A. |
| Decision effect | Pass permits continued evaluation; Fail/critical UNKNOWN applies non-compensating ceiling. |
| Closure | Action, owner, evidence, retest and trigger. |
| Review | Technical and independent reviewer; snapshot/version. |

# Part VI - Sample completed assessments

## EX-01 Synthetic AI training cluster - EX-01 Synthetic AI training cluster

Synthetic training example, not a real assessment.

| Record | Completed entry |
| --- | --- |
| Charter | Defined synthetic Capability Instance, Service Outcomes, scope and decision question. |
| Evidence | Current architecture and telemetry support operation; representative storage/fabric recovery evidence is incomplete. |
| Control result | Design, implementation, operation and effectiveness stay separate. |
| Failure/dependency | Path, safeguards, residual state and recovery recorded. |
| Gate | CG-08 PASS within observed state; CG-10 UNKNOWN. |
| UNKNOWN | Subject, missing attribute, consequence, owner and evidence-to-resolve recorded. |
| Review | Independent challenge of evidence, gate logic and wording. |
| Decision | Limited/conditional wording only; request checkpoint/restore exercise. |
| Reassessment | Trigger and supersession path recorded. |

## EX-02 Synthetic power continuity - EX-02 Synthetic power continuity

Synthetic training example, not a real assessment.

| Record | Completed entry |
| --- | --- |
| Charter | Defined synthetic Capability Instance, Service Outcomes, scope and decision question. |
| Evidence | Design, telemetry and maintenance are current; transfer tested only at partial load and fuel replenishment is unverified. |
| Control result | Design, implementation, operation and effectiveness stay separate. |
| Failure/dependency | Path, safeguards, residual state and recovery recorded. |
| Gate | CG-05 UNKNOWN; CG-03 UNKNOWN. |
| UNKNOWN | Subject, missing attribute, consequence, owner and evidence-to-resolve recorded. |
| Review | Independent challenge of evidence, gate logic and wording. |
| Decision | No resilience conclusion beyond tested load/duration; expand test and dependency evidence. |
| Reassessment | Trigger and supersession path recorded. |

## EX-03 Synthetic remote support authority - EX-03 Synthetic remote support authority

Synthetic training example, not a real assessment.

| Record | Completed entry |
| --- | --- |
| Charter | Defined synthetic Capability Instance, Service Outcomes, scope and decision question. |
| Evidence | Identity and route evidence exist; permission scope and command limits are incomplete. |
| Control result | Design, implementation, operation and effectiveness stay separate. |
| Failure/dependency | Path, safeguards, residual state and recovery recorded. |
| Gate | CG-15 UNKNOWN; connectivity alone does not fail CG-06. |
| UNKNOWN | Subject, missing attribute, consequence, owner and evidence-to-resolve recorded. |
| Review | Independent challenge of evidence, gate logic and wording. |
| Decision | Candidate authority path; request permission export and authorised control test. |
| Reassessment | Trigger and supersession path recorded. |

# Part VII - Assessor competency and accreditation criteria

| Level | Role | Minimum evidence |
| --- | --- | --- |
| AC-0 | Observer | Induction, confidentiality, safety and method orientation. |
| AC-1 | Associate assessor | Supervised evidence intake and accepted workpapers. |
| AC-2 | Domain assessor | Domain competence, witnessed fieldwork, evidence judgment and review. |
| AC-3 | Lead assessor | Cross-domain scope, integration, gates, findings and decision drafting. |
| AC-4 | Technical reviewer | Recognised technical authority and current review experience. |
| AC-5 | Independent reviewer | Impartial senior assurance competence and gate/decision challenge. |
| AC-6 | Decision authority | Governance appointment, independence and recorded delegation. |

## Competency portfolio

AIDCF method and evidence discipline.

Assurance, sampling, findings and bounded decisions.

Applicable engineering/technical domains.

Safety and authorised testing.

Professional scepticism, impartiality and confidentiality.

Graph lineage, candidate assertion and review-state handling.

Witnessed assessments and accepted workpapers.

Defined scope, methods, assurance levels and roles.

Suspension and reinstatement criteria.

# Part VIII - AITG graph-ingestion mappings

| AIDCF record | Graph object | Minimum properties |
| --- | --- | --- |
| Assessment | Assessment | ID; decision question; scope; version; status; owner |
| Capability Profile | CapabilityInstance | ID; outcomes; lifecycle; baseline |
| Service Outcome | ServiceOutcome | ID; tolerance; criticality; conditions |
| Control Result | ControlAssessment | control; subject; state; method; result; confidence; review |
| Evidence | EvidenceObject | ID; class; source; time; scope; integrity; status |
| Assertion | Assertion | ID; proposition; subject; conditions; candidate/reviewed state |
| Finding | Finding | ID; criterion; condition; cause; consequence; status |
| UNKNOWN | UnknownRecord | ID; subject; missing attribute; reason; consequence; ceiling |
| Scenario | FailureScenario | ID; state; event; path; safeguards; residual; recovery |
| Gate | GateResult | ID; applicability; evidence; status; decision effect; review |
| Decision | AssuranceDecision | ID; subject; scope; status; conditions; validity; authority |
| Review | ReviewRecord | ID; reviewer; independence; comments; disposition |

## Relationships

| Relationship | Use |
| --- | --- |
| ASSESSES | Assessment to capability/control |
| SUPPORTS / CHALLENGES / QUALIFIES | Evidence to assertion |
| EVALUATES | Control assessment to control or safeguard |
| AFFECTS | Finding/scenario to outcome |
| DEPENDS_ON | Capability/function to entity/provider |
| PROPAGATES_TO | Failure-path step to next step |
| PROTECTED_BY | Function/outcome to safeguard |
| EVIDENCES_GATE | Evidence package to gate |
| LIMITS | UNKNOWN/limitation to assertion/decision |
| REVIEWED_BY | Object to review record |
| GENERATED_FROM | Derived object to sources |
| SUPERSEDES | New version to prior version |
| INTEGRATION_HANDOFF | AITG-native to AIDCF-native object |

## Ingestion validation rules

Every object has stable ID, source, version and state.

Every assertion has evidence, challenge/qualification or UNKNOWN.

Every derived object retains source and transformation.

Every gate retains mandatory evidence and review.

Candidate inference cannot become reviewed fact automatically.

Connectivity does not imply reachability, authority, causality or realised effect.

AIDCF and AITG decisions remain separate.

Sensitive paths use classification and controlled query policy.

Supersession preserves prior snapshots and lineage.

# Part IX - Enhanced workpaper schemas

## Control Procedure

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

## Decision Tree Instance

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

## Inspection Record

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

## Evidence Collection

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

## Gate Workbook

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

## Competence Record

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

## Graph Ingestion Manifest

| Mandatory field | Entry |
| --- | --- |
| stableId |  |
| assessmentId |  |
| capability/outcome |  |
| subject/boundary/state |  |
| criterion/decision question |  |
| method |  |
| evidence references |  |
| quality/sufficiency |  |
| result/status |  |
| UNKNOWN/conflicts |  |
| gate/decision effect |  |
| owner/preparer |  |
| reviewer |  |
| version/date/trigger |  |

# Appendix A - Enhanced conformance

| ID | Validation |
| --- | --- |
| AM11-VAL-01 | Every applicable control has an individual procedure record. |
| AM11-VAL-02 | Every used decision tree retains the selected branch and rationale. |
| AM11-VAL-03 | Every inspection records inaccessible scope and safety status. |
| AM11-VAL-04 | Every Evidence Object follows an applicable collection playbook. |
| AM11-VAL-05 | Every applicable critical gate has a completed workbook and independent review. |
| AM11-VAL-06 | Synthetic examples remain segregated from real assessments. |
| AM11-VAL-07 | Every assessor role has an engagement-specific competence decision. |
| AM11-VAL-08 | Every graph object preserves source, version and review state. |
| AM11-VAL-09 | No graph inference automatically changes a gate or decision. |
| AM11-VAL-10 | UNKNOWN, conflict, safety and non-compensation remain visible. |

## Release review

| Reviewer | Status |
| --- | --- |
| Lead assessor peer | Pending |
| Electrical SME | Pending |
| Mechanical SME | Pending |
| Compute/HPC SME | Pending |
| Storage/network SME | Pending |
| Operations/reliability SME | Pending |
| OT/security SME | Pending |
| Evidence specialist | Pending |
| Safety/legal/privacy | Pending |
| AITG/graph reviewer | Pending |
| Independent practitioner pilot | Pending |
| Public release | Pending |

Final doctrine: additional procedural detail improves execution but cannot create authority, evidence, competence or certainty. Where the chain is incomplete, AIDCF reduces, conditions, suspends or withholds assurance.